Began taking Gamry Measurements 08/12/25

08/12/25: Cell 1

- Standards for Cell 1

- Practice NaCl 0.5 Measurements

08/13/25: Cell 1

- Standards for Cell 1 redone to confirm accuracy

- 20C: Room temperature 0.5m HP Measurements

08/14/25: Cell 2

- Used HP Cell (Cell 1) to confirm accuracy overnight at 600MPa

- Standards for Cell 2 (Please recalculate using new standard solution)

- Single Salt Solutions

- Mixed Salt Solution

08/15/25: Cell 2

- Single Salt MgSO4

- Mixed Salt solutions

- Standard for Cell 2 confirmed

08/18/25: Cell 1

- NaCl 0.5m Measurements at 20C, HP

08/19/25: Cell 1

- NaCl 0.5m Measurements at -1C, 10C, 20C, HP

08/20/25

- NaCl 0.5m measurement at 35C, some 20C, and 45C (inaccurate)